## Passive
Appendix 1
MICAS Structured Cabling Solution BOQ
comments
Item | Description | Qty | Unit | Rate including Taxes, Other Duties and Discounts but Exclusive of VAT | Total Cost including Taxes, Other Duties and Discounts but Exclusive of VAT
1 | Data Cabinets |  |  |  | 0
1.1 | Supply and install 19 inch floor standing lockable cabinet with front and back glass door, split front & back door opening, ventilation fans and adjustable feet measuring 800x1000 47U | 3 | No | 0 | 0
1.2 | Supply and install 19 inch wall mount lockable cabinet with front glass door, ventilation, measuring 600x600x 12U-15U | 4 | No | 0 | 0
1.3 | Supply cage nuts, bolts & screws packets of 50 | 2 | No | 0 | 0
1.4 | Supply Cable ties packets of 100 black 30cm | 2 | No | 0 | 0
1.5 | Supply 1U 19" metal cable management with hooks | 15 | No | 0 | 0
1.6 | Supply 45U 4.9" wide plastic Vertical Cable Manager | 6 | No | 0 | 0
1.7 | Supply 1U 600mm cabinet shelf, black. | 1 | No | 0 | 0 | Place GO equipment and MITA Firewall
1.8 | Supply 1U 19-inch Rackmount Power Distribution Unit (PDU) with 6 UK Sockets Outputs (Surge Protected) | 4 | No | 0 | 0
2 | Patch Panels |  |  |  | 0
2.1 | Supply and install 24-port Cat6A patch panels - Technical Specifications Ref 2A & installation procedure | 12 | No | 0 | 0
3 | Cable Management |  |  |  | 0
3.1 | Supply and install wire mesh cable basket (complete with fittings and accessories) - Technical Specifications Ref 3B & installation procedure | 220 | m | 0 | 0
3.2 | Supply and install PVC white trunking - 25 x 16mm (complete with fittings and accessories) - Technical Specifications Ref 3A & installation procedure | 140 | m | 0 | 0 | From cable basket to dual network point
3.3 | Supply and install ABS-Plastic under desk cable management 'Spine' | 31 | No | 0 | 0 | From floor to under desk (optional)
4 | Data Socket Outlets |  |  |  | 0
4.1 | Supply and install dual RJ45 Cat6A socket outlets (complete) - Technical Specifications Ref 5B & installation procedure | 35 | No | 0 | 0 | Door Access
4.2 | Supply and install dual RJ45 Cat6A socket outlets (complete) - Technical Specifications Ref 5B & installation procedure | 16 | No | 0 | 0 | TVs/Printers/APs (high level)
4.3 | Supply and install dual RJ45 Cat6A socket outlets with surge protectors (complete) - Technical Specifications Ref 5B & installation procedure | 7 | No | 0 | 0 | CCTV (High Level)
4.4 | Supply and install dual RJ45 Cat6A socket outlets with surge protectors (complete) - Technical Specifications Ref 5B & installation procedure | 2 | No | 0 | 0 | Outdoor APs (High Level)
4.5 | Supply and install triple RJ45 Cat6A socket outlets (complete) - Technical Specifications Ref 5B & installation procedure | 31 | No | 0 | 0 | Desks
4.6 | Supply and install Floor Box cover kits, 272mm x 272mm (complete) | 31 | No | 0 | 0 | Under desk (optional)
4.7 | Supply and install desk Pop-up box, minimum 2 power and 2 Cat 6 outlets with 3m cable extensions (complete) | 31 | No | 0 | 0 | Desks (optional)
5 | Fibre / Copper Cable |  |  |  | 0
5.1 | Supply and install CAT6A UTP cable - Technical Specifications Ref 4A & installation procedure | 4290 | m | 0 | 0
6 | Termination |  |  |  | 0
6.1 | Termination , labelling and testing of all copper data points at both ends. Full cable certification tests results have to be provided in accordance with category 6A TIA or ISO/IEC standards. Tests results have to be provided in pdf electronic format - Solution Commissioning & installation procedure. | 217 | No | 0 | 0
7 | Network Consumables |  |  |  | 0
7.1 | Supply LSOH copper patch chords Cat6a U/UTP 1m red - Technical Specification Ref. 7A | 5 | No | 0 | 0 | Uplinks
7.2 | Supply LSOH copper patch chords Cat6a U/UTP 2m red - Technical Specification Ref. 7A | 5 | No | 0 | 0
7.3 | Supply LSOH copper patch chords Cat6a U/UTP 3m red - Technical Specification Ref. 7A | 5 | No | 0 | 0
7.4 | Supply LSOH copper patch chords Cat6a U/UTP 1m yellow - Technical Specification Ref. 7A | 15 | No | 0 | 0 | Access Points
7.5 | Supply LSOH copper patch chords Cat6a U/UTP 1m blue - Technical Specification Ref. 7A | 10 | No | 0 | 0 | CCTV
7.6 | Supply LSOH copper patch chords Cat6a U/UTP 1m green - Technical Specification Ref. 7A | 30 | No | 0 | 0 | VOIP
7.7 | Supply LSOH copper patch chords Cat6a U/UTP 2m green - Technical Specification Ref. 7A | 25 | No | 0 | 0
7.8 | Supply LSOH copper patch chords Cat6a U/UTP 3m green - Technical Specification Ref. 7A | 20 | No | 0 | 0
7.9 | Supply LSOH copper patch chords Cat6a U/UTP 1m grey - Technical Specification Ref. 7A | 30 | No | 0 | 0 | Data
7.10 | Supply LSOH copper patch chords Cat6a U/UTP 2m grey - Technical Specification Ref. 7A | 25 | No | 0 | 0
7.11 | Supply LSOH copper patch chords Cat6a U/UTP 3m grey - Technical Specification Ref. 7A | 20 | No | 0 | 0
Grand Total including Taxes, Other Duties, Discounts but Exclusive fo VAT => |  |  |  |  | 0
* All amounts quoted are to be submitted up to two decimal places
* The Contracting Authority is entitled to reject any offers which is considered to be abnormally low.
* The Grand Total of this BOQ needs to be inserted and included as Item J in the MICAS Passive Networking Infrastructure Proposal Submission Form