# Malta International Contemporary Art Space

Ref No: MICAS/EOI/11/2024

### Expression of Interest: Structured Cabling and Network Infrastructure Installation

Date Published: 19 August 2024

Deadline for Submission: 2 September 2024 at 10:00 am CET/CEST 
EOI Opening: 2 September 2024 at 10:30 am CET/CEST

1

Malta International Contemporary Art Space (MICAS) seeks a qualified contractor to design, install, test, and certify a comprehensive structured cabling system to support its network infrastructure and connectivity requirements.

### Scope of Work:

- Structured Cabling: Installation of copper and dual fibre optic backbone within the Main Administration Block and throughout the MICAS complex, adhering to pre-existing network designs and Bills of Quantities (BOQs) developed by MITA and MICAS’ engineering consultants. Minor design adjustments may be required based on site conditions and will be subject to approval.

- Passive Equipment: Procurement, installation, testing, and certification of all necessary passive network components, including but not limited to patch panels, cable assemblies, and fibre optic termination equipment.

- Equipment Racking: Installation and configuration of network racks within the Main Distribution Frame (MDF) and Intermediate Distribution Frames (IDFs) of the Administration Block. This includes the mounting of active network equipment supplied by MICAS and third-party vendors, such as switches, routers, Wi-Fi controllers, firewalls, and UPS systems.

- Labelling: Consistent and professional labelling of all cabling, passive components, and active equipment to facilitate network management and maintenance.

### Key Deliverables:

- A fully functional, high-performance network infrastructure supporting MICAS’ operational requirements.

- Comprehensive documentation, including network diagrams, cable schedules, and test results.

- Adherence to industry standards and best practices for cabling installation and testing.

The successful contractor will be expected to collaborate closely with MICAS’ IT Department and engineering consultants throughout the project lifecycle.

Due to the urgency of this scope of works the contractor will be accorded allowance to work outside normal working hours including Saturdays, Sundays, and public holidays.

# Scope of Work

### Structured Cabling System

  - Copper Cabling Infrastructure throughout the Administration Block

Copper Cabling: Cat6 Shielded Twisted Pair (STP) or Foiled Fully Screened Twisted Pair (FFTP) copper cabling will be installed throughout the Administration Block to support high- speed data transmission.

Network Connectivity: Cabling will extend from patch panels in the Main Distribution Frame (MDF) to floor boxes in the raised flooring, providing wired Ethernet connectivity. Additionally, STP/FFTP uplinks will be installed to support wireless access points (APs) for two separate Wi-Fi networks: one integrated with MITA’s MAGNET network and the other with a private WiMAX network.

### Fibre Optic Backbone Infrastructure throughout entire MICAS Complex Redundant Fibre Optic Network Architecture

To provide high availability and fault tolerance, a dual fibre optic backbone network will be

implemented throughout the MICAS complex.

    - Single-Mode Fibre: Deployed for long-haul, high-bandwidth data transmission.

    - Multimode Fibre: Installed to offer additional network redundancy and capacity.

Physical diversity and resilience are ensured through separate underground manhole routing for each fibre backbone. All fibre optic cables must be installed within rodent-proof metal sleeving supplied by the contractor to protect against physical damage.

  - Network Equipment Enclosure Requirements

## Network Cabinet and Rack Installations

### Main Administration Block:

      - Primary Server Room: Installation of three 47U network cabinets.

      - Potential for a smaller Intermediate Distribution Frame (IDF) at basement level.

### Security Room:

      - Installation of one 12-15U network cabinet.

Note: All network cabinets and racks must adhere to industry standards for weight capacity, ventilation, and cable management.

## Wireless Networking at the Main Administration Block

### Deployment of a Private Ubiquiti AP-Based Wi-Fi Network

Purpose: To establish a private, ISP-independent Wi-Fi network utilizing Ubiquiti APs provided by the contracting authority. The network will serve external visitors, staff, and general operational requirements.

Scope: The solution will encompass the design, implementation, configuration, testing, and documentation of a Wi-Fi network reliant on a WiMAX backbone.

### Deployment of a Secure MITA-based Wi-Fi Network

    - Objective: To deploy a secure, reliable, and high-performance Wi-Fi network for administrative and operational functions. The network infrastructure will leverage Aruba APs and Wi-Fi Controllers procured via MITA’s Framework Agreement for Wi-Fi active equipment. The solution must adhere to stringent data confidentiality, integrity, and security standards.

## Network Services Deliverables

### Wi-Fi Network Design Review, Installation, Testing, and Certification in Main Administration Block

    - The contractor shall conduct a comprehensive design review of two distinct Wi-Fi network architectures. One network interface will be integrated with a WiMAX service, while the second will be interfaced with MITA’s MAGNET network. The contractor is also to implement necessary design modifications to ensure optimal performance and compatibility for both systems.

    - Installation and Testing: The contractor shall provide a comprehensive Wi-Fi APs installation service encompassing: cabling infrastructure, AP mounting (soffits or walls), configuration, testing, and certification. This includes the following:

      - Installation of necessary cabling;

      - Secure AP mounting in specified locations;

      - AP configuration and setup;

      - Rigorous testing of network performance and connectivity;

      - Professional labelling of all network components;

      - Provision of comprehensive test results and certification.

### Main Administration Block Network Installation

    - Components: Copper cabling and fibre.

    - Tasks: Terminate, label, test, and certify all cabling.

### Main Administration Block Server Room Network Installation

    - Components: 3 network cabinets with patch panels, cable management, and PDUs.

    - Coordination: With MITA ISD for configuration and commissioning.

### Security Room Network Design and Installation

    - Design: Small network for Security Room.

    - Installation: Surface-mounted wall ports, 2 wireless APs, and a network cabinet.

    - Connectivity: Link to the Administration Block MDF via fibre.

### Backbone Fibre Installation

    - Installation: Dual-fibre backbone (single-mode and multi-mode) throughout the entire MICAS complex. The fibre cable will be routed through two separate purpose-built manholes spanning through the entire MICAS complex.

    - Tasks: Terminate, label, test, and certify fibre links.

### Inventory and Procurement

    - Inventory: Tally existing passive network equipment, including OM4 fibre optic cable.

    - Procurement: Identify and quote for additional equipment and cabling required.

# Requirements for Quotation Submission

## General Requirements

    - Detailed proposal including all components and services specified.

    - Breakdown of costs for materials, labour, and any additional expenses.

    - Timeline for project completion.

    - Warranty and support details for installed components.

## Technical Specifications

    - Compliance with industry standards for structured cabling systems.

    - Use of top-quality branded products for all passive equipment and cabling.

    - Detailed design documents for the proposed network infrastructure.

# Provision

BOQ Passive Equipment: Appendix 1 – The MICAS Structured Cabling Solution BOQ must be submitted in its entirety. MICAS already has several passive equipment items in stock. The successful bidder will be expected to supply only those items that MICAS does not currently have in stock. (Items listed in the BOQ will be paid if utilised).

# Timetable

| The Expression of Interest opens on: | 19 August 2024 |
| --- | --- |
| Site Visit – MICAS, Ospizio Complex, Bieb il-Pulverista, Joseph J. Mangion Street, Floriana: | 26 August 2024 at 10:00 am CET/CEST |
| Clarification requests maybe submitted via email on people@micas.art by not later than: | 30 August 2024 |
| Applications are to be submitted via email on people@micas.art by not later than: | 2 September 2024 at 10:00 am CET/CEST |
| Opening of offers: | 2 September 2024 at 10:30 am CET/CEST |
| Award Stage: The winning bidder will be notified by the end of the day on: | 9 September 2024 |

Any clarification requests and/or the completed applications need to be submitted via email on people@micas.art indicating the following text in the subject field:

Ref No: MICAS/EOI/11/2024 : Expression of Interest: Structured Cabling and Network Infrastructure Installation

The opening schedule shall be affixed on the notice board of MICAS in the order of how the applications were received. Only the name of the contractors who submitted an offer under this Expression of Interest shall be displayed on the said opening schedule; no prices shall be listed on such schedule.

Late and/or incomplete applications will not be considered.

# Award Requirements

The sole award criterion will be the price. The contract will be awarded to the interested person/company submitting the cheapest priced offer satisfying the General Requirements and Technical Specifications requested in this EOI.

# Conclusion

The passive networking infrastructure for MICAS, including the structured cabling system and wireless networking, will provide a robust, reliable, and future-proof foundation to support the art space’s diverse connectivity requirements. This comprehensive solution will enable MICAS to effectively engage with contemporary art and culture, both globally and locally, while ensuring seamless and secure communication throughout the facility.